## Summary
Data File | Marker | Estimated Area (mm²) | Estimated Volume (mm³) | Volume Corrected for OverProjection (mm³) | Coefficient of Error (Gundersen), m=0 | Coefficient of Error (Gundersen), m=1 | Coefficient of Error (Roberts/Cruz-Orive) | Section Cut Thickness (µm) [1] | Section Evaluation Interval | Grid Size (µm) | Sections | Count | Biggest Probe Run | Missing Sections | Calculated Missing Counts | Estimated Area (mm²) adjusted with missing section counts | Estimated Volume (mm³) adjusted with missing section counts
AE_18_HE.DAT | Marker 3 | 34.24 | 7.1904 | 6.7816 | 0.071 | 0.017 | 4.234 | 70 | 3 | 200 | 9 | 856 | 18

## Parameters
Data File | AE_18_HE.DAT
Created By
Study Name
Study Comment
Associated Area (mm²) | 0.04
Section Cut Thickness (µm) [1] | 70
Section Evaluation Interval | 3
Associated Volume (mm³) | 0.0084
Shape Factor | 4.35
Listing of data sheets generated:
Summary
Parameters
Probes
Variance details
Z order
Marker Fraction
Footnotes:
[1] Mean thickness of tissue when sectioned

## Probes
Data File | Marker | Largest Probe Run | Probe Run | Count | Section Z | Created
AE_18_HE.DAT | Marker 3 |  | 20 | 32 | 0 | 12/23/19 11:41:00
AE_18_HE.DAT | Marker 3 |  | 19 | 59 | 210 | 12/23/19 11:41:00
AE_18_HE.DAT | Marker 3 |  | 25 | 85 | 420 | 12/23/19 11:41:00
AE_18_HE.DAT | Marker 3 |  | 23 | 111 | 630 | 12/23/19 11:41:00
AE_18_HE.DAT | Marker 3 | Yes | 18 | 146 | 840 | 12/23/19 11:41:00
AE_18_HE.DAT | Marker 3 |  | 24 | 142 | 1050 | 12/23/19 11:41:00
AE_18_HE.DAT | Marker 3 |  | 22 | 103 | 1260 | 12/23/19 11:41:00
AE_18_HE.DAT | Marker 3 |  | 17 | 47 | 1470 | 12/23/19 11:41:00
AE_18_HE.DAT | Marker 3 |  | 21 | 131 | 1680 | 12/23/19 11:41:00

## Section Markers
Section Name | Section Z | Marker 3
Section 1 | 0 | 32
Section 4 | 210 | 59
Section 7 | 420 | 85
Section 10 | 630 | 111
Section 13 | 840 | 146
Section 16 | 1050 | 142
Section 19 | 1260 | 103
Section 22 | 1470 | 47
Section 25 | 1680 | 131

## Variance Details
Data File | Marker | Variance Due To Noise | Variance of SURS, m=0 | Variance of SURS, m=1 | A | B | C | Variance of SURS, alpha(q) | q | alpha(q) | Coefficient of Error (Gundersen), alpha(q) | D
AE_18_HE.DAT | Marker 3 | 27.643 | 3624.42 | 181.22 | 95510 | 78900 | 72646 | 3624.42 | 0 | 0.0833 | 0.071 | 61133

## Z Order
Data File | Section | Z of Section (µm) | Average Section Z (µm) | Marker Count | Created By | Study Name | Study Comment
AE_18_HE.DAT | Section 1 | 0 | 0 | 32
AE_18_HE.DAT | Section 4 | 210 | 210 | 59
AE_18_HE.DAT | Section 7 | 420 | 420 | 85
AE_18_HE.DAT | Section 10 | 630 | 630 | 111
AE_18_HE.DAT | Section 13 | 840 | 840 | 146
AE_18_HE.DAT | Section 16 | 1050 | 1050 | 142
AE_18_HE.DAT | Section 19 | 1260 | 1260 | 103
AE_18_HE.DAT | Section 22 | 1470 | 1470 | 47
AE_18_HE.DAT | Section 25 | 1680 | 1680 | 131

## Marker Fraction
Data File | Marker | Fraction
AE_18_HE.DAT | Marker 3 | 1